## Sheet_0
SKU | Base Model | UPC | Sellable Market | Brand | Status | Prod Code | Prod Code Description | Option 1 | Option 2 | Option 3 | Option 4 | Option 5 | Option 6 | Option 7 | Option 8 | Option 9 | Option 10 | Pump Included | Volume Water Heater Pump Type | Replacement SKU | Product Group | Product Name | Marketing Description | Application | End Use | Taxonomy | Tank Warranty | Parts Warranty | Heat Exchanger Warranty | Spec Sheet Document Number - US | Spec Sheet Hyperlink - US | Spec Sheet Document Number - CA | Spec Sheet Hyperlink - CA | Submittal Document Number | Submittal Hyperlink | Parts List Document Number | Parts List Hyperlink | Service Manual Document Number | Service Manual Hyperlink | Installation & Operation Instruction Manual Document Number | Installation & Operation Instruction Manual Hyperlink | Installation Checklist Document Number | Installation Checklist Hyperlink | Start Up Sheet Document Number | Start Up Sheet Hyperlink | User Manual Document Number | User Manual Hyperlink | Warranty Document Hyperlink | Warranty Document Number | Quick Service Manual Document Number | Quick Service Manual Hyperlink | Product Image Hyperlink 1 | Product Image Hyperlink 2 | Product Image Hyperlink 3 | Product Image Hyperlink 4 | Revit Hyperlink | 2D CAD File | 2D CAD File Hyperlink | 3D STEP File | 3D STEP File Hyperlink | Supplemental Material 1 Document Number | Supplemental Material 1 Hyperlink | Supplemental Material 2 Document Number | Supplemental Material 2 Hyperlink | Supplemental Material 3 Document Number | Supplemental Material 3 Hyperlink | Supplemental Material 4 Document Number | Supplemental Material 4 Hyperlink | Supplemental Material 5 Document Number | Supplemental Material 5 Hyperlink | Energy Source | Fuel Type | Voltage | Phase | Amps | Placement | Fire Tube or Water Tube | Mounting Type | Heat Exchange Material | ASME | ASME Type | Working Pressure (PSI) | Vent Category | Vent Pipe Diameter (Exhaust) - Inches | Air Intake Pipe Diameter - Inches | Gas Connection Size - Inches | Water Connection Size - Inches | Condensing | AFUE (%) | Thermal Efficiency (%) | Recovery Efficiency (%) | Combustion Efficiency (%) | Standby Loss (%/Hr.) | Standby Loss (BTU/Hr.) | COP | Input | Output | First Hour Rating | Uniform Energy Factor | Nominal Capacity | DOE Rated Storage Capacity | Hourly Recovery Rate | Turndown Ratio | Nitrogen Oxide Emissions (NOx) | DHW Storage Capacity | DHW Capacity @ 77 deg Temp Rise | GPM Flow Rate @ 75 deg Temp Rise | Product Width - Inches | Product Length - Inches | Product Height - Inches | Weight - Pounds | Shipping Length - Inches | Shipping Width - Inches | Shipping Height - Inches | Shipping Weight - Pounds | Operating Weight - Pounds | Diameter - Inches | Floor to Heater Top - Inches | Depth - Inches | Floor To Vent Connection - Inches | Floor To Air Intake Connection - Inches | Center Line Distance From Intake To Exhaust - Inches | Floor To Top Water Connections - Inches | Floor To Cold Water Connection - Inches | Floor To Hot Water Connection - Inches | Center Line of Water Connections - Inches | Space Heating Connection Size - Inches | Floor To Space Heating Inlet - Inches | Floor To Space Heating Outlet - Inches | Floor To Gas Connection - Inches | Floor To T&P Connection - Inches | Floor To Condensate Connection - Inches | Wall To Front (Wall Hung Models Only) - Inches | Floor To Pressure Relief Valve Connection - Inches | Height To Bracket (Wall Hung Models Only) - Inches | Height To T&P Connection (Wall Hung Models Only) - Inches | Floor To Electrical Access - Inches | Floor To Anode Rod (Utility Models Only) - Inches | Floor To Top Of Control Box (ASME & CEHD Electric Models Only) - Inches | Quantity | Trailer Load Factor – Drop 53 | Trailer Load Factor – Straight 53 | Safety Certification | CEC Listed | Proposition 65 | Massachusetts Approved | Energy Star | NEEA Listed
EF120T4003N3 | EF120T400 | 671632917617 | US | Bradford White | Active | 40176 | COM GAS NC EF | [10 empty] | No | Not Applicable | Not Applicable | Commercial Water Heating | eF Series® | ENERGY STAR Certified Bradford White High Efficiency Condensing Ultra Low NOx eF Series® 119 Gallon Commercial Gas (Natural) Water Heater. Designed for Venting Versatility, this water heater can be installed as a Power Vent or Power Direct Vent. 3-Year Tank Warranty, 399,999 BTU/Hr., 120 Volts, Single Phase, with Power Cord included. | Commercial | Water Heating | Water Heating.Gas | 3 | 1 |  | 801 | https://docs.bradfordwhite.com/Spec_Sheets/801_Current.pdf | [5 empty] | https://s3.amazonaws.com/bradfordwhitecorp/wp-content/uploads/commercial_gas_ultra_low_nox_ultra_high_efficiency_ef120t_series_partslist_53521.pdf |  |  | 238-53506-00 | https://s3.amazonaws.com/bradfordwhitecorp/wp-content/uploads/commercial_gas_ultra_low_nox_ultra_high_efficiency_ef120t_series_iomanual_53506.pdf | [6 empty] | https://s3.amazonaws.com/bradfordwhitecorp/wp-content/uploads/warranty_commercial_36612.pdf | 238-36612-00 |  |  | https://docs.bradfordwhite.com/Product_Images/product_commercial_gas_ef_series_ultra_high_120gal_801.png | [8 empty] | 238-53498-00 | [9 empty] | Gas | Natural Gas |  |  |  | Indoor |  | Floor Mounted |  | No | Not Applicable | 150 | Category IV | 4 | 4 | 1 | 1.5 | Yes | [7 empty] | 399999 BTU/Hr |  |  |  | 119 |  | Not Applicable | 3:1 | Not Applicable | [6 empty] | 1185 | 38.5 | 38.5 | 86.75 | 1232 | 2165 | 32 | 77.38 | 35 | 7.25 | 71 |  |  | 12.25 | 61.25 |  |  |  |  | 73.88 | 58.5 | [8 empty] | 1 | 30 | 32 | ANSI Z21.10.3-2019/CSA 4.3-2019 | Yes | Yes | Yes | Yes | Not Applicable
EF120T4005N3 | EF120T400 | 671632132478 | US | Bradford White | Active | 40176 | COM GAS NC EF | [10 empty] | No | Not Applicable | Not Applicable | Commercial Water Heating | eF Series® | ENERGY STAR Certified Bradford White High Efficiency Condensing Ultra Low NOx eF Series® 119 Gallon Commercial Gas (Natural) Water Heater. Designed for Venting Versatility, this water heater can be installed as a Power Vent or Power Direct Vent. 5-Year Tank Warranty, 399,999 BTU/Hr., 120 Volts, Single Phase, with Power Cord included. | Commercial | Water Heating | Water Heating.Gas | 5 | 1 |  | 801 | https://docs.bradfordwhite.com/Spec_Sheets/801_Current.pdf | [5 empty] | https://s3.amazonaws.com/bradfordwhitecorp/wp-content/uploads/commercial_gas_ultra_low_nox_ultra_high_efficiency_ef120t_series_partslist_53521.pdf |  |  | 238-53506-00 | https://s3.amazonaws.com/bradfordwhitecorp/wp-content/uploads/commercial_gas_ultra_low_nox_ultra_high_efficiency_ef120t_series_iomanual_53506.pdf | [6 empty] | https://s3.amazonaws.com/bradfordwhitecorp/wp-content/uploads/warranty_commercial_36612.pdf | 238-36612-00 |  |  | https://docs.bradfordwhite.com/Product_Images/product_commercial_gas_ef_series_ultra_high_120gal_801.png | [8 empty] | 238-53498-00 | [9 empty] | Gas | Natural Gas |  |  |  | Indoor |  | Floor Mounted |  | No | Not Applicable | 150 | Category IV | 4 | 4 | 1 | 1.5 | Yes | [7 empty] | 399999 BTU/Hr |  |  |  | 119 |  | Not Applicable | 3:1 | Not Applicable | [6 empty] | 1185 | 38.5 | 38.5 | 86.75 | 1232 | 2165 | 32 | 77.38 | 35 | 7.25 | 71 |  |  | 12.25 | 61.25 |  |  |  |  | 73.88 | 58.5 | [8 empty] | 1 | 30 | 32 | ANSI Z21.10.3-2019/CSA 4.3-2019 | Yes | Yes | Yes | Yes | Not Applicable
EF120T4005X3 | EF120T400 | 671632329632 | US | Bradford White | Active | 40176 | COM GAS NC EF | [10 empty] | No | Not Applicable | Not Applicable | Commercial Water Heating | eF Series® | ENERGY STAR Certified Bradford White High Efficiency Condensing eF Series® 119 Gallon Commercial Gas (Liquid Propane) Power or Power Direct Vent Water Heater. 5-Year Tank Warranty, 399,999 BTU/Hr., 120 Volts, Single Phase, with Power Cord included. | Commercial | Water Heating | Water Heating.Gas | 5 | 1 |  | 801 | https://docs.bradfordwhite.com/Spec_Sheets/801_Current.pdf | [5 empty] | https://s3.amazonaws.com/bradfordwhitecorp/wp-content/uploads/commercial_gas_ultra_low_nox_ultra_high_efficiency_ef120t_series_partslist_53521.pdf |  |  | 238-53506-00 | https://s3.amazonaws.com/bradfordwhitecorp/wp-content/uploads/commercial_gas_ultra_low_nox_ultra_high_efficiency_ef120t_series_iomanual_53506.pdf | [6 empty] | https://s3.amazonaws.com/bradfordwhitecorp/wp-content/uploads/warranty_commercial_36612.pdf | 238-36612-00 |  |  | https://docs.bradfordwhite.com/Product_Images/product_commercial_gas_ef_series_ultra_high_120gal_801.png | [8 empty] | 238-53498-00 | [9 empty] | Gas | Liquid Propane |  |  |  | Indoor |  | Floor Mounted |  | No | Not Applicable | 150 | Category IV | 4 | 4 | 1 | 1.5 | Yes | [7 empty] | 399999 BTU/Hr |  |  |  | 119 |  | Not Applicable | 3:1 | Not Applicable | [6 empty] | 1185 | 38.5 | 38.5 | 86.75 | 1232 | 2165 | 32 | 77.38 | 35 | 7.25 | 71 |  |  | 12.25 | 61.25 |  |  |  |  | 73.88 | 58.5 | [8 empty] | 1 | 30 | 32 | ANSI Z21.10.3-2019/CSA 4.3-2019 | Yes | Yes | Yes | Yes | Not Applicable
EF120T4003X3 | EF120T400 | 671632125012 | US | Bradford White | Active | 40176 | COM GAS NC EF | [10 empty] | No | Not Applicable | Not Applicable | Commercial Water Heating | eF Series® | ENERGY STAR Certified Bradford White High Efficiency Condensing eF Series® 119 Gallon Commercial Gas (Liquid Propane) Water Heater. Designed for Venting Versatility, this water heater can be installed as a Power Vent or Power Direct Vent. 3-Year Tank Warranty, 399,999 BTU/Hr., 120 Volts, Single Phase, with Power Cord included. | Commercial | Water Heating | Water Heating.Gas | 3 | 1 |  | 801 | https://docs.bradfordwhite.com/Spec_Sheets/801_Current.pdf | [5 empty] | https://s3.amazonaws.com/bradfordwhitecorp/wp-content/uploads/commercial_gas_ultra_low_nox_ultra_high_efficiency_ef120t_series_partslist_53521.pdf |  |  | 238-53506-00 | https://s3.amazonaws.com/bradfordwhitecorp/wp-content/uploads/commercial_gas_ultra_low_nox_ultra_high_efficiency_ef120t_series_iomanual_53506.pdf | [6 empty] | https://s3.amazonaws.com/bradfordwhitecorp/wp-content/uploads/warranty_commercial_36612.pdf | 238-36612-00 |  |  | https://docs.bradfordwhite.com/Product_Images/product_commercial_gas_ef_series_ultra_high_120gal_801.png | [8 empty] | 238-53498-00 | [9 empty] | Gas | Liquid Propane |  |  |  | Indoor |  | Floor Mounted |  | No | Not Applicable | 150 | Category IV | 4 | 4 | 1 | 1.5 | Yes | [7 empty] | 399999 BTU/Hr |  |  |  | 119 |  | Not Applicable | 3:1 | Not Applicable | [6 empty] | 1185 | 38.5 | 38.5 | 86.75 | 1232 | 2165 | 32 | 77.38 | 35 | 7.25 | 71 |  |  | 12.25 | 61.25 |  |  |  |  | 73.88 | 58.5 | [8 empty] | 1 | 30 | 32 | ANSI Z21.10.3-2019/CSA 4.3-2019 | Yes | Yes | Yes | Yes | Not Applicable
EF120T4003NA3 | EF120T400A | 671632125029 | US | Bradford White | Active | 40166 | COM GAS ASME EF | [10 empty] | No | Not Applicable | Not Applicable | Commercial Water Heating | eF Series® | ENERGY STAR Certified Bradford White High Efficiency Condensing Ultra Low NOx eF Series® 119 Gallon Commercial Gas (Natural) ASME Water Heater. Designed for Venting Versatility, this water heater can be installed as a Power Vent or Power Direct Vent. 3-Year Tank Warranty, 399,999 BTU/Hr., 120 Volts, Single Phase, with Power Cord included. | Commercial | Water Heating | Water Heating.Gas | 3 | 1 |  | 801 | https://docs.bradfordwhite.com/Spec_Sheets/801_Current.pdf | [5 empty] | https://s3.amazonaws.com/bradfordwhitecorp/wp-content/uploads/commercial_gas_ultra_low_nox_ultra_high_efficiency_ef120t_series_partslist_53521.pdf |  |  | 238-53506-00 | https://s3.amazonaws.com/bradfordwhitecorp/wp-content/uploads/commercial_gas_ultra_low_nox_ultra_high_efficiency_ef120t_series_iomanual_53506.pdf | [6 empty] | https://s3.amazonaws.com/bradfordwhitecorp/wp-content/uploads/warranty_commercial_36612.pdf | 238-36612-00 |  |  | https://docs.bradfordwhite.com/Product_Images/product_commercial_gas_ef_series_ultra_high_120gal_801.png | [8 empty] | 238-53498-00 | [9 empty] | Gas | Natural Gas |  |  |  | Indoor |  | Floor Mounted |  | Yes | HLW | 150 | Category IV | 4 | 4 | 1 | 1.5 | Yes | [7 empty] | 399999 BTU/Hr |  |  |  | 119 |  | Not Applicable | 3:1 | Yes, it does comply with jurisdictions having 14ng/J NOx Regulations | [6 empty] | 1185 | 38.5 | 38.5 | 86.75 | 1232 | 2165 | 32 | 77.38 | 35 | 7.25 | 71 |  |  | 12.25 | 61.25 |  |  |  |  | 73.88 | 58.5 | [8 empty] | 1 | 30 | 32 | ANSI Z21.10.3-2019/CSA 4.3-2019 | Yes | Yes | Yes | Yes | Not Applicable
EF120T4005NA3 | EF120T400A | 671632140992 | US | Bradford White | Active | 40166 | COM GAS ASME EF | [10 empty] | No | Not Applicable | Not Applicable | Commercial Water Heating | eF Series® | ENERGY STAR Certified Bradford White High Efficiency Condensing Ultra Low NOx eF Series® 119 Gallon Commercial Gas (Natural) ASME Water Heater. Designed for Venting Versatility, this water heater can be installed as a Power Vent or Power Direct Vent. 5-Year Tank Warranty, 399,999 BTU/Hr., 120 Volts, Single Phase, with Power Cord included. | Commercial | Water Heating | Water Heating.Gas | 5 | 1 |  | 801 | https://docs.bradfordwhite.com/Spec_Sheets/801_Current.pdf | [5 empty] | https://s3.amazonaws.com/bradfordwhitecorp/wp-content/uploads/commercial_gas_ultra_low_nox_ultra_high_efficiency_ef120t_series_partslist_53521.pdf |  |  | 238-53506-00 | https://s3.amazonaws.com/bradfordwhitecorp/wp-content/uploads/commercial_gas_ultra_low_nox_ultra_high_efficiency_ef120t_series_iomanual_53506.pdf | [6 empty] | https://s3.amazonaws.com/bradfordwhitecorp/wp-content/uploads/warranty_commercial_36612.pdf | 238-36612-00 |  |  | https://docs.bradfordwhite.com/Product_Images/product_commercial_gas_ef_series_ultra_high_120gal_801.png | [8 empty] | 238-53498-00 | [9 empty] | Gas | Natural Gas |  |  |  | Indoor |  | Floor Mounted |  | Yes | HLW | 150 | Category IV | 4 | 4 | 1 | 1.5 | Yes | [7 empty] | 399999 BTU/Hr |  |  |  | 119 |  | Not Applicable | 3:1 | Yes, it does comply with jurisdictions having 14ng/J NOx Regulations | [6 empty] | 1185 | 38.5 | 38.5 | 86.75 | 1232 | 2165 | 32 | 77.38 | 35 | 7.25 | 71 |  |  | 12.25 | 61.25 |  |  |  |  | 73.88 | 58.5 | [8 empty] | 1 | 30 | 32 | ANSI Z21.10.3-2019/CSA 4.3-2019 | Yes | Yes | Yes | Yes | Not Applicable
EF120T4005XA3 | EF120T400A | 671632329625 | US | Bradford White | Active | 40166 | COM GAS ASME EF | [10 empty] | No | Not Applicable | Not Applicable | Commercial Water Heating | eF Series® | ENERGY STAR Certified Bradford White High Efficiency Condensing eF Series® 119 Gallon Commercial Gas (Liquid Propane) ASME Water Heater. Designed for Venting Versatility, this water heater can be installed as a Power Vent or Power Direct Vent. 5-Year Tank Warranty, 399,999 BTU/Hr., 120 Volts, Single Phase, with Power Cord included. | Commercial | Water Heating | Water Heating.Gas | 5 | 1 |  | 801 | https://docs.bradfordwhite.com/Spec_Sheets/801_Current.pdf | [5 empty] | https://s3.amazonaws.com/bradfordwhitecorp/wp-content/uploads/commercial_gas_ultra_low_nox_ultra_high_efficiency_ef120t_series_partslist_53521.pdf |  |  | 238-53506-00 | https://s3.amazonaws.com/bradfordwhitecorp/wp-content/uploads/commercial_gas_ultra_low_nox_ultra_high_efficiency_ef120t_series_iomanual_53506.pdf | [6 empty] | https://s3.amazonaws.com/bradfordwhitecorp/wp-content/uploads/warranty_commercial_36612.pdf | 238-36612-00 |  |  | https://docs.bradfordwhite.com/Product_Images/product_commercial_gas_ef_series_ultra_high_120gal_801.png | [8 empty] | 238-53498-00 | [9 empty] | Gas | Liquid Propane |  |  |  | Indoor |  | Floor Mounted |  | Yes | HLW | 150 | Category IV | 4 | 4 | 1 | 1.5 | Yes | [7 empty] | 399999 BTU/Hr |  |  |  | 119 |  | Not Applicable | 3:1 | Yes, it does comply with jurisdictions having 14ng/J NOx Regulations | [6 empty] | 1185 | 38.5 | 38.5 | 86.75 | 1232 | 2165 | 32 | 77.38 | 35 | 7.25 | 71 |  |  | 12.25 | 61.25 |  |  |  |  | 73.88 | 58.5 | [8 empty] | 1 | 30 | 32 | ANSI Z21.10.3-2019/CSA 4.3-2019 | Yes | Yes | Yes | Yes | Not Applicable
EF120T4003XA3 | EF120T400A | 671632125036 | US | Bradford White | Active | 40166 | COM GAS ASME EF | [10 empty] | No | Not Applicable | Not Applicable | Commercial Water Heating | eF Series® | ENERGY STAR Certified Bradford White High Efficiency Condensing eF Series® 119 Gallon Commercial Gas (Liquid Propane) ASME Water Heater. Designed for Venting Versatility, this water heater can be installed as a Power Vent or Power Direct Vent. 3-Year Tank Warranty, 399,999 BTU/Hr., 120 Volts, Single Phase, with Power Cord included. | Commercial | Water Heating | Water Heating.Gas | 3 | 1 |  | 801 | https://docs.bradfordwhite.com/Spec_Sheets/801_Current.pdf | [5 empty] | https://s3.amazonaws.com/bradfordwhitecorp/wp-content/uploads/commercial_gas_ultra_low_nox_ultra_high_efficiency_ef120t_series_partslist_53521.pdf |  |  | 238-53506-00 | https://s3.amazonaws.com/bradfordwhitecorp/wp-content/uploads/commercial_gas_ultra_low_nox_ultra_high_efficiency_ef120t_series_iomanual_53506.pdf | [6 empty] | https://s3.amazonaws.com/bradfordwhitecorp/wp-content/uploads/warranty_commercial_36612.pdf | 238-36612-00 |  |  | https://docs.bradfordwhite.com/Product_Images/product_commercial_gas_ef_series_ultra_high_120gal_801.png | [8 empty] | 238-53498-00 | [9 empty] | Gas | Liquid Propane |  |  |  | Indoor |  | Floor Mounted |  | Yes | HLW | 150 | Category IV | 4 | 4 | 1 | 1.5 | Yes | [7 empty] | 399999 BTU/Hr |  |  |  | 119 |  | Not Applicable | 3:1 | Yes, it does comply with jurisdictions having 14ng/J NOx Regulations | [6 empty] | 1185 | 38.5 | 38.5 | 86.75 | 1232 | 2165 | 32 | 77.38 | 35 | 7.25 | 71 |  |  | 12.25 | 61.25 |  |  |  |  | 73.88 | 58.5 | [8 empty] | 1 | 30 | 32 | ANSI Z21.10.3-2019/CSA 4.3-2019 | Yes | Yes | Yes | Yes | Not Applicable
EF120T5003N3 | EF120T500 | 671632125043 | US | Bradford White | Active | 40176 | COM GAS NC EF | [10 empty] | No | Not Applicable | Not Applicable | Commercial Water Heating | eF Series® | ENERGY STAR Certified Bradford White High Efficiency Condensing Ultra Low NOx eF Series® 119 Gallon Commercial Gas (Natural) Water Heater. Designed for Venting Versatility, this water heater can be installed as a Power Vent or Power Direct Vent. 3-Year Tank Warranty, 499,999 BTU/Hr., 120 Volts, Single Phase, with Power Cord included. | Commercial | Water Heating | Water Heating.Gas | 3 | 1 |  | 801 | https://docs.bradfordwhite.com/Spec_Sheets/801_Current.pdf | [5 empty] | https://s3.amazonaws.com/bradfordwhitecorp/wp-content/uploads/commercial_gas_ultra_low_nox_ultra_high_efficiency_ef120t_series_partslist_53521.pdf |  |  | 238-53506-00 | https://s3.amazonaws.com/bradfordwhitecorp/wp-content/uploads/commercial_gas_ultra_low_nox_ultra_high_efficiency_ef120t_series_iomanual_53506.pdf | [6 empty] | https://s3.amazonaws.com/bradfordwhitecorp/wp-content/uploads/warranty_commercial_36612.pdf | 238-36612-00 |  |  | https://docs.bradfordwhite.com/Product_Images/product_commercial_gas_ef_series_ultra_high_120gal_801.png | [8 empty] | 238-53498-00 | [9 empty] | Gas | Natural Gas |  |  |  | Indoor |  | Floor Mounted |  | No | Not Applicable | 150 | Category IV | 4 | 4 | 1 | 1.5 | Yes | [7 empty] | 499999 BTU/Hr |  |  |  | 119 |  | Not Applicable | 3:1 | Yes, it does comply with jurisdictions having 14ng/J NOx Regulations | [6 empty] | 1200 | 38.5 | 38.5 | 86.75 | 1248 | 2180 | 32 | 77.38 | 35 | 7.25 | 71 |  |  | 12.25 | 61.25 |  |  |  |  | 74.88 | 58.5 | [8 empty] | 1 | 30 | 32 | ANSI Z21.10.3-2019/CSA 4.3-2019 | Yes | Yes | Yes | Yes | Not Applicable
EF120T5005N3 | EF120T500 | 671632329564 | US | Bradford White | Active | 40176 | COM GAS NC EF | [10 empty] | No | Not Applicable | Not Applicable | Commercial Water Heating | eF Series® | ENERGY STAR Certified Bradford White High Efficiency Condensing Ultra Low NOx eF Series® 119 Gallon Commercial Gas (Natural) Water Heater. Designed for Venting Versatility, this water heater can be installed as a Power Vent or Power Direct Vent. 5-Year Tank Warranty, 499,999 BTU/Hr., 120 Volts, Single Phase, with Power Cord included. | Commercial | Water Heating | Water Heating.Gas | 5 | 1 |  | 801 | https://docs.bradfordwhite.com/Spec_Sheets/801_Current.pdf | [5 empty] | https://s3.amazonaws.com/bradfordwhitecorp/wp-content/uploads/commercial_gas_ultra_low_nox_ultra_high_efficiency_ef120t_series_partslist_53521.pdf |  |  | 238-53506-00 | https://s3.amazonaws.com/bradfordwhitecorp/wp-content/uploads/commercial_gas_ultra_low_nox_ultra_high_efficiency_ef120t_series_iomanual_53506.pdf | [6 empty] | https://s3.amazonaws.com/bradfordwhitecorp/wp-content/uploads/warranty_commercial_36612.pdf | 238-36612-00 |  |  | https://docs.bradfordwhite.com/Product_Images/product_commercial_gas_ef_series_ultra_high_120gal_801.png | [8 empty] | 238-53498-00 | [9 empty] | Gas | Natural Gas |  |  |  | Indoor |  | Floor Mounted |  | No | Not Applicable | 150 | Category IV | 4 | 4 | 1 | 1.5 | Yes | [7 empty] | 499999 BTU/Hr |  |  |  | 119 |  | Not Applicable | 3:1 | Yes, it does comply with jurisdictions having 14ng/J NOx Regulations | [6 empty] | 1200 | 38.5 | 38.5 | 86.75 | 1248 | 2180 | 32 | 77.38 | 35 | 7.25 | 71 |  |  | 12.25 | 61.25 |  |  |  |  | 74.88 | 58.5 | [8 empty] | 1 | 30 | 32 | ANSI Z21.10.3-2019/CSA 4.3-2019 | Yes | Yes | Yes | Yes | Not Applicable
EF120T5005X3 | EF120T500 | 671632329649 | US | Bradford White | Active | 40176 | COM GAS NC EF | [10 empty] | No | Not Applicable | Not Applicable | Commercial Water Heating | eF Series® | ENERGY STAR Certified Bradford White High Efficiency Condensing eF Series® 119 Gallon Commercial Gas (Liquid Propane) Water Heater. Designed for Venting Versatility, this water heater can be installed as a Power Vent or Power Direct Vent. 5-Year Tank Warranty, 499,999 BTU/Hr., 120 Volts, Single Phase, with Power Cord included. | Commercial | Water Heating | Water Heating.Gas | 5 | 1 |  | 801 | https://docs.bradfordwhite.com/Spec_Sheets/801_Current.pdf | [5 empty] | https://s3.amazonaws.com/bradfordwhitecorp/wp-content/uploads/commercial_gas_ultra_low_nox_ultra_high_efficiency_ef120t_series_partslist_53521.pdf |  |  | 238-53506-00 | https://s3.amazonaws.com/bradfordwhitecorp/wp-content/uploads/commercial_gas_ultra_low_nox_ultra_high_efficiency_ef120t_series_iomanual_53506.pdf | [6 empty] | https://s3.amazonaws.com/bradfordwhitecorp/wp-content/uploads/warranty_commercial_36612.pdf | 238-36612-00 |  |  | https://docs.bradfordwhite.com/Product_Images/product_commercial_gas_ef_series_ultra_high_120gal_801.png | [8 empty] | 238-53498-00 | [9 empty] | Gas | Liquid Propane |  |  |  | Indoor |  | Floor Mounted |  | No | Not Applicable | 150 | Category IV | 4 | 4 | 1 | 1.5 | Yes | [7 empty] | 499999 BTU/Hr |  |  |  | 119 |  | Not Applicable | 3:1 | Yes, it does comply with jurisdictions having 14ng/J NOx Regulations | [6 empty] | 1200 | 38.5 | 38.5 | 86.75 | 1248 | 2180 | 32 | 77.38 | 35 | 7.25 | 71 |  |  | 12.25 | 61.25 |  |  |  |  | 74.88 | 58.5 | [8 empty] | 1 | 30 | 32 | ANSI Z21.10.3-2019/CSA 4.3-2019 | Yes | Yes | Yes | Yes | Not Applicable
EF120T5003X3 | EF120T500 | 671632125050 | US | Bradford White | Active | 40176 | COM GAS NC EF | [10 empty] | No | Not Applicable | Not Applicable | Commercial Water Heating | eF Series® | ENERGY STAR Certified Bradford White High Efficiency Condensing eF Series® 119 Gallon Commercial Gas (Liquid Propane) Water Heater. Designed for Venting Versatility, this water heater can be installed as a Power Vent or Power Direct Vent. 3-Year Tank Warranty, 499,999 BTU/Hr., 120 Volts, Single Phase, with Power Cord included. | Commercial | Water Heating | Water Heating.Gas | 3 | 1 |  | 801 | https://docs.bradfordwhite.com/Spec_Sheets/801_Current.pdf | [5 empty] | https://s3.amazonaws.com/bradfordwhitecorp/wp-content/uploads/commercial_gas_ultra_low_nox_ultra_high_efficiency_ef120t_series_partslist_53521.pdf |  |  | 238-53506-00 | https://s3.amazonaws.com/bradfordwhitecorp/wp-content/uploads/commercial_gas_ultra_low_nox_ultra_high_efficiency_ef120t_series_iomanual_53506.pdf | [6 empty] | https://s3.amazonaws.com/bradfordwhitecorp/wp-content/uploads/warranty_commercial_36612.pdf | 238-36612-00 |  |  | https://docs.bradfordwhite.com/Product_Images/product_commercial_gas_ef_series_ultra_high_120gal_801.png | [8 empty] | 238-53498-00 | [9 empty] | Gas | Liquid Propane |  |  |  | Indoor |  | Floor Mounted |  | No | Not Applicable | 150 | Category IV | 4 | 4 | 1 | 1.5 | Yes | [7 empty] | 499999 BTU/Hr |  |  |  | 119 |  | Not Applicable | 3:1 | Yes, it does comply with jurisdictions having 14ng/J NOx Regulations | [6 empty] | 1200 | 38.5 | 38.5 | 86.75 | 1248 | 2180 | 32 | 77.38 | 35 | 7.25 | 71 |  |  | 12.25 | 61.25 |  |  |  |  | 74.88 | 58.5 | [8 empty] | 1 | 30 | 32 | ANSI Z21.10.3-2019/CSA 4.3-2019 | Yes | Yes | Yes | Yes | Not Applicable
EF120T5005NA3 | EF120T500A | 671632130184 | US | Bradford White | Active | 40166 | COM GAS ASME EF | [10 empty] | No | Not Applicable | Not Applicable | Commercial Water Heating | eF Series® | ENERGY STAR Certified Bradford White High Efficiency Condensing Ultra Low NOx eF Series® 119 Gallon Commercial Gas (Natural) ASME Water Heater. Designed for Venting Versatility, this water heater can be installed as a Power Vent or Power Direct Vent. 5-Year Tank Warranty, 499,999 BTU/Hr., 120 Volts, Single Phase, with Power Cord included. | Commercial | Water Heating | Water Heating.Gas | 5 | 1 |  | 801 | https://docs.bradfordwhite.com/Spec_Sheets/801_Current.pdf | [5 empty] | https://s3.amazonaws.com/bradfordwhitecorp/wp-content/uploads/commercial_gas_ultra_low_nox_ultra_high_efficiency_ef120t_series_partslist_53521.pdf |  |  | 238-53506-00 | https://s3.amazonaws.com/bradfordwhitecorp/wp-content/uploads/commercial_gas_ultra_low_nox_ultra_high_efficiency_ef120t_series_iomanual_53506.pdf | [6 empty] | https://s3.amazonaws.com/bradfordwhitecorp/wp-content/uploads/warranty_commercial_36612.pdf | 238-36612-00 |  |  | https://docs.bradfordwhite.com/Product_Images/product_commercial_gas_ef_series_ultra_high_120gal_801.png | [8 empty] | 238-53498-00 | [9 empty] | Gas | Natural Gas |  |  |  | Indoor |  | Floor Mounted |  | Yes | HLW | 150 | Category IV | 4 | 4 | 1 | 1.5 | Yes | [7 empty] | 499999 BTU/Hr |  |  |  | 119 |  | Not Applicable | 3:1 | Not Applicable | [6 empty] | 1200 | 38.5 | 38.5 | 86.75 | 1248 | 2180 | 32 | 77.38 | 35 | 7.25 | 71 |  |  | 12.25 | 61.25 |  |  |  |  | 74.88 | 58.5 | [8 empty] | 1 | 30 | 32 | ANSI Z21.10.3-2019/CSA 4.3-2019 | Yes | Yes | Yes | Yes | Not Applicable
EF120T5003NA3 | EF120T500A | 671632917624 | US | Bradford White | Active | 40166 | COM GAS ASME EF | [10 empty] | No | Not Applicable | Not Applicable | Commercial Water Heating | eF Series® | ENERGY STAR Certified Bradford White High Efficiency Condensing Ultra Low NOx eF Series® 119 Gallon Commercial Gas (Natural) ASME Water Heater. Designed for Venting Versatility, this water heater can be installed as a Power Vent or Power Direct Vent. 3-Year Tank Warranty, 499,999 BTU/Hr., 120 Volts, Single Phase, with Power Cord included. | Commercial | Water Heating | Water Heating.Gas | 3 | 1 |  | 801 | https://docs.bradfordwhite.com/Spec_Sheets/801_Current.pdf | [5 empty] | https://s3.amazonaws.com/bradfordwhitecorp/wp-content/uploads/commercial_gas_ultra_low_nox_ultra_high_efficiency_ef120t_series_partslist_53521.pdf |  |  | 238-53506-00 | https://s3.amazonaws.com/bradfordwhitecorp/wp-content/uploads/commercial_gas_ultra_low_nox_ultra_high_efficiency_ef120t_series_iomanual_53506.pdf | [6 empty] | https://s3.amazonaws.com/bradfordwhitecorp/wp-content/uploads/warranty_commercial_36612.pdf | 238-36612-00 |  |  | https://docs.bradfordwhite.com/Product_Images/product_commercial_gas_ef_series_ultra_high_120gal_801.png | [8 empty] | 238-53498-00 | [9 empty] | Gas | Natural Gas |  |  |  | Indoor |  | Floor Mounted |  | Yes | HLW | 150 | Category IV | 4 | 4 | 1 | 1.5 | Yes | [7 empty] | 499999 BTU/Hr |  |  |  | 119 |  | Not Applicable | 3:1 | Not Applicable | [6 empty] | 1200 | 38.5 | 38.5 | 86.75 | 1248 | 2180 | 32 | 77.38 | 35 | 7.25 | 71 |  |  | 12.25 | 61.25 |  |  |  |  | 74.88 | 58.5 | [8 empty] | 1 | 30 | 32 | ANSI Z21.10.3-2019/CSA 4.3-2019 | Yes | Yes | Yes | Yes | Not Applicable
EF120T5005XA3 | EF120T500A | 671632329656 | US | Bradford White | Active | 40166 | COM GAS ASME EF | [10 empty] | No | Not Applicable | Not Applicable | Commercial Water Heating | eF Series® | ENERGY STAR Certified Bradford White High Efficiency Condensing eF Series® 119 Gallon Commercial Gas (Liquid Propane) ASME Water Heater. Designed for Venting Versatility, this water heater can be installed as a Power Vent or Power Direct Vent. 5-Year Tank Warranty, 499,999 BTU/Hr., 120 Volts, Single Phase, with Power Cord included. | Commercial | Water Heating | Water Heating.Gas | 5 | 1 |  | 801 | https://docs.bradfordwhite.com/Spec_Sheets/801_Current.pdf | [5 empty] | https://s3.amazonaws.com/bradfordwhitecorp/wp-content/uploads/commercial_gas_ultra_low_nox_ultra_high_efficiency_ef120t_series_partslist_53521.pdf |  |  | 238-53506-00 | https://s3.amazonaws.com/bradfordwhitecorp/wp-content/uploads/commercial_gas_ultra_low_nox_ultra_high_efficiency_ef120t_series_iomanual_53506.pdf | [6 empty] | https://s3.amazonaws.com/bradfordwhitecorp/wp-content/uploads/warranty_commercial_36612.pdf | 238-36612-00 |  |  | https://docs.bradfordwhite.com/Product_Images/product_commercial_gas_ef_series_ultra_high_120gal_801.png | [8 empty] | 238-53498-00 | [9 empty] | Gas | Liquid Propane |  |  |  | Indoor |  | Floor Mounted |  | Yes | HLW | 150 | Category IV | 4 | 4 | 1 | 1.5 | Yes | [7 empty] | 499999 BTU/Hr |  |  |  | 119 |  | Not Applicable | 3:1 | Not Applicable | [6 empty] | 1200 | 38.5 | 38.5 | 86.75 | 1248 | 2180 | 32 | 77.38 | 35 | 7.25 | 71 |  |  | 12.25 | 61.25 |  |  |  |  | 74.88 | 58.5 | [8 empty] | 1 | 30 | 32 | ANSI Z21.10.3-2019/CSA 4.3-2019 | Yes | Yes | Yes | Yes | Not Applicable
EF120T5003XA3 | EF120T500A | 671632125067 | US | Bradford White | Active | 40166 | COM GAS ASME EF | [10 empty] | No | Not Applicable | Not Applicable | Commercial Water Heating | eF Series® | ENERGY STAR Certified Bradford White High Efficiency Condensing Ultra Low NOx eF Series® 119 Gallon Commercial Gas (Liquid Propane) ASME Water Heater. Designed for Venting Versatility, this water heater can be installed as a Power Vent or Power Direct Vent. 3-Year Tank Warranty, 499,999 BTU/Hr., 120 Volts, Single Phase, with Power Cord included. | Commercial | Water Heating | Water Heating.Gas | 3 | 1 |  | 801 | https://docs.bradfordwhite.com/Spec_Sheets/801_Current.pdf | [5 empty] | https://s3.amazonaws.com/bradfordwhitecorp/wp-content/uploads/commercial_gas_ultra_low_nox_ultra_high_efficiency_ef120t_series_partslist_53521.pdf |  |  | 238-53506-00 | https://s3.amazonaws.com/bradfordwhitecorp/wp-content/uploads/commercial_gas_ultra_low_nox_ultra_high_efficiency_ef120t_series_iomanual_53506.pdf | [6 empty] | https://s3.amazonaws.com/bradfordwhitecorp/wp-content/uploads/warranty_commercial_36612.pdf | 238-36612-00 |  |  | https://docs.bradfordwhite.com/Product_Images/product_commercial_gas_ef_series_ultra_high_120gal_801.png | [8 empty] | 238-53498-00 | [9 empty] | Gas | Liquid Propane |  |  |  | Indoor |  | Floor Mounted |  | Yes | HLW | 150 | Category IV | 4 | 4 | 1 | 1.5 | Yes | [7 empty] | 499999 BTU/Hr |  |  |  | 119 |  | Not Applicable | 3:1 | Not Applicable | [6 empty] | 1200 | 38.5 | 38.5 | 86.75 | 1248 | 2180 | 32 | 77.38 | 35 | 7.25 | 71 |  |  | 12.25 | 61.25 |  |  |  |  | 74.88 | 58.5 | [8 empty] | 1 | 30 | 32 | ANSI Z21.10.3-2019/CSA 4.3-2019 | Yes | Yes | Yes | Yes | Not Applicable